## Sheet1
Checklist for Factory Building Plan
Name and Adress of Factory
Application No.
Receipt No.
Cateogry
A | APPLICATON FORM | Status Yes/No
A-1 | Form No.1 Application for approval of building plan
A-2 | From No. 1-A Details of work rooms.
A-3 | Questionnaire Annexed to Form No. 1-A Checklist regarding various provisions relating to safety, health & welfare of workers .
A-4 | Stability Certificate
A-5 | Factory Building plan-indicating relevant details relating to natural lighting, ventilation, means of escape
A-6 | Flow chart with brief description of manufacturing process
A-7 | NOC from Local authority
A-8 | NOC/Consent from Pollution Control Board
A-9 | NOC from Fire Station Officer
A-10 | Safety Report:
B | DETAILS OF PLAN | Status Yes/No
B-1 | Whether the building Plan, site plan, sectional elevation, cross section of the building not submitted in triplicate.
B-2 | Whether the building plan, site plan, sectional elevation, cross section of the building has not been signed by the competent Engineer.
B-3 | Whether on the Site plan, site of factory & immediate surroundings including ‘building and other structures’, ‘rod’ ‘drains’ etc. have not been shown.
B-4 | Whether the Factory Building Elevation is not shown.
B-5 | Whether the Cross section of the building is not shown.
B-6 | Are the following facilitiy shown in the plan
a) Drinking water post
b) Toilets
c) washing place
d) Cloak room
B-7 | Is Position of plant and machinery not indicated in the plans.
B-8 | Are the Emergency exits dully not marked/shown in the plans.
B-9
| Other requirements | Required/Provided
Latrine/Urinal(s)
Rest Room
Canteen
Dinning Hall
Kitchen
store room
washing place
ambulance room
C | DETALS OF FORM NO. 1 | Status Yes/No
C-1 | Whether the Form No. 1submitted in triplicate.
C-2 | Whether the Form No. 1 is complete. .if no then which column is incomplete
C-3 | Whether the Form No. 1 is duly signed by the occupier.
D | DETALS OF FORM NO. 1-A | Status Yes/No
D-1 | Whether the Form No. 1-Asubmitted in triplicate.
D-2 | Whether the Form No. 1-A is complete. .if no then which column is incomplete
D-3 | Whether the Form No. 1-A is duly signed by the occupier.
D-4 | Whether the maximum no. of persons to be employed in the room is more than max. Capacity of the as per details provided in Form No. 1-A.
D-5 | Whether the ventilation/natural lighting area is less than 15% of floor area of the room.
D-6 | Is the minimum height of work room in accordance with the provisionsof Rule (6)
Name of Room | Height Required/Height Provided
E-1 | The Proof of payment of Cess @ 1% of the cost of construction under the BOCW Act, 1996.
Name of Occupier
Signature of Occupier